## Read me
Calibration certificate template
Free from gaugelog.com. Works in Excel, Google Sheets and LibreOffice.
How to use it
1. Certificate sheet: one calibration per certificate. Fill it top to bottom; fields marked * are the minimum an auditor expects to find.
2. Next calibration due is calculated from the date calibrated and the interval. Type over it if your due date is set differently.
3. Measurement data: the Result column computes Pass or Fail once nominal, tolerance and as-left are numbers, within nominal ± tolerance. Same rule as our free certificate generator. Type over it to override.
4. Example certificate sheet: a completed certificate with clearly fictional data, so you can see how every field is meant to be used. Copy nothing from it into a real certificate.
5. To issue on paper: print or export the Certificate sheet as PDF. It is set up to print on A4 or Letter.
Good to know
The fields match Gaugelog's free certificate generator and the Gaugelog product one to one: as-found and as-left results, reference standards with their own certificate numbers, procedure reference, statement and sign-off. A certificate drafted here can be recreated in either without renaming a single field.
Dates are ISO format (YYYY-MM-DD).
This template does not make a calibration accredited. If a customer or regulation requires ISO/IEC 17025 accredited calibration, that certificate must come from an accredited laboratory. For in-house calibrations under ISO 9001 (7.1.5), this field set is what auditors look for.
One honest limitation
A spreadsheet holds the record, but it does not set the page: the logo, the clean layout and consistent certificate numbering are on you. Our free certificate generator fills these exact fields in your browser and returns a print-ready PDF with your logo on it. No login, and your data never leaves the browser.
Create this certificate as a clean PDF instead: gaugelog.com/tools/certificate-generator
Template generated 2026-07-11 · gaugelog.com

## Certificate
CERTIFICATE OF CALIBRATION
Certificate no.
COMPANY
Company name *
Address line 1
Address line 2
RECORD INFORMATION
Control no. *
Serial no.
Asset no.
INSTRUMENT INFORMATION
Instrument type
Manufacturer
Model
Range or size
Accuracy
Location
Assigned to
CALIBRATION INFORMATION
Date calibrated (YYYY-MM-DD) *
Calibration interval (months)
Next calibration due
Calibrated by *
Procedure reference
Condition received
Environmental conditions
Measurement uncertainty
TRACEABILITY
| Reference standard |  |  | Standard cert. no. |  | Traceable to
RESULTS
As found *
As left *
Adjustments made *
Repairs made *
Repairs description
Fit for purpose *
MEASUREMENT DATA
# | Parameter | Nominal | Tolerance ± | As found | As left | Unit | Result
1
2
3
4
5
6
7
8
9
10
STATEMENT
The instrument identified on this certificate was calibrated using the procedure and reference standards stated herein. Results relate only to the item calibrated and are certified accurate on the date of calibration by the identified technician.
REVIEW AND APPROVAL
| Calibrated by (sign and date) |  |  |  | Approved by (sign and date)
Template from gaugelog.com · Free calibration certificate generator: gaugelog.com/tools/certificate-generator
Note on B3: Your own numbering. Keep it unique per certificate; auditors follow this number from the log to the document.
Note on B11: The instrument's unique ID in your register.
Note on B26: Helper for the next-due date. The due date below is what counts.
Note on B27: Calculated: date calibrated + interval. Type over it if your due date is set differently.
Note on B29: The procedure or work instruction this calibration followed.
Note on B35: The unbroken chain: the reference standard you calibrated against, that standard's own certificate number, and the national institute the chain ends at (NIST, PTB, ...).
Note on B43: How the instrument measured when it came in, before any adjustment. A failed as-found means measurements since the last calibration are suspect (ISO 9001, 7.1.5.2).
Note on B44: How the instrument measured going back out, after any adjustment.
Note on B47: Required when repairs were made.
Note on H51: Calculated: Pass when the as-left value is within nominal ± tolerance, once all three are numbers. Same rule as our free certificate generator. Type over it to override.

## Example certificate
EXAMPLE CERTIFICATE. Fictional data throughout. Fill in the Certificate sheet for real calibrations.
CERTIFICATE OF CALIBRATION
| Certificate no. | LMC-0042-2
COMPANY
| Company name * | Lakeside Machining Co.
| Address line 1 | 1200 Lakeside Drive
| Address line 2 | Unit 4
RECORD INFORMATION
| Control no. * | LMC-0042
| Serial no. | T2308859
Asset no.
INSTRUMENT INFORMATION
| Instrument type | Torque wrench
| Manufacturer | Norbar
| Model | TTi 50
| Range or size | 10–50 N·m
| Accuracy | ±4% of setting
| Location | Assembly
Assigned to
CALIBRATION INFORMATION
| Date calibrated (YYYY-MM-DD) * | 2026-06-19
| Calibration interval (months) | 12
Next calibration due
| Calibrated by * | J. Reyes
| Procedure reference | LMC-CP-07, per ISO 6789-1:2017
| Condition received | In service, no visible damage
| Environmental conditions | 20 °C ± 1 °C, calibration bench
| Measurement uncertainty | ±1.5 % of reading (k=2)
TRACEABILITY
| Reference standard |  |  | Standard cert. no. |  | Traceable to
| Torque tester LMC-0005, Norbar TruCheck Plus 3-350 |  |  | FCL-25341 |  | NIST through Fictional Calibration Labs
RESULTS
| As found * | Fail
| As left * | Pass
| Adjustments made * | Yes
| Repairs made * | No
Repairs description
| Fit for purpose * | Yes
MEASUREMENT DATA
# | Parameter | Nominal | Tolerance ± | As found | As left | Unit | Result
1 | 20 N·m CW | 20 | 0.8 | 21.4 | 20.1 | N·m
2 | 35 N·m CW | 35 | 1.4 | 36.9 | 35.2 | N·m
3 | 50 N·m CW | 50 | 2 | 53.1 | 50.3 | N·m
4
5
6
7
8
9
10
STATEMENT
The instrument identified on this certificate was calibrated using the procedure and reference standards stated herein. Results relate only to the item calibrated and are certified accurate on the date of calibration by the identified technician.
REVIEW AND APPROVAL
| Calibrated by (sign and date) |  |  |  | Approved by (sign and date)
M. Alvarez
Example with fictional data · Template from gaugelog.com
Note on B5: Your own numbering. Keep it unique per certificate; auditors follow this number from the log to the document.
Note on B13: The instrument's unique ID in your register.
Note on B28: Helper for the next-due date. The due date below is what counts.
Note on B29: Calculated: date calibrated + interval. Type over it if your due date is set differently.
Note on B31: The procedure or work instruction this calibration followed.
Note on B37: The unbroken chain: the reference standard you calibrated against, that standard's own certificate number, and the national institute the chain ends at (NIST, PTB, ...).
Note on B45: How the instrument measured when it came in, before any adjustment. A failed as-found means measurements since the last calibration are suspect (ISO 9001, 7.1.5.2).
Note on B46: How the instrument measured going back out, after any adjustment.
Note on B49: Required when repairs were made.
Note on H53: Calculated: Pass when the as-left value is within nominal ± tolerance, once all three are numbers. Same rule as our free certificate generator. Type over it to override.